**66390 - LED9DA19/827**

GE Energy Smart® A19

• Energy-efficient LED lamps. Long life. Omnidirectional.



Aug 11, 2013 7:34:18 PM

**GENERAL CHARACTERISTICS**

|  |  |
| --- | --- |
| Lamp Type | Replacement Lamps - A-line |
| Bulb | A19 |
| Base | Medium Screw (E26) |
| Additional Info | GE Life Rating is based on 70% Lumen Maintenance |
| Bulb Shape | A-19 |
| Color | White |
| Dimming Capability | Operates on dimming circuits. See GELighting.com/dimming for further information |
| Equivalent Wattage | 40.0 W |
| Lamp Type | A-19 |
| Life in Years | 22.8 |
| Rated Life | 25000.0 hrs |

**PHOTOMETRIC CHARACTERISTICS**

Color Rendering Index 82.0

(CRI)

Color Temperature 2700.0 K

Initial Lumens 450.0

Nominal Initial Lumens per 50.0 Watt

**ELECTRICAL CHARACTERISTICS**

Voltage 120.0 Wattage 9.0

**DIMENSIONS**

Bulb Diameter (DIA) 2.375 in(60.3 mm)

Maximum Overall Length 4.4300 in(112.5 mm) (MOL)

**PRODUCT INFORMATION**

|  |  |
| --- | --- |
| Product Code | 66390 |
| Description | LED9DA19/827 |
| Standard Package | Case |
| Standard Package GTIN | 10043168663905 |
| Standard Package Quantity | 6 |
| Sales Unit | Unit |
| No Of Items Per Sales Unit | 1 |
| UPC | 043168663908 |